Technical section

1) Bucholz relay is...

a. Gas actuated relay

b. Current sensing device

c. Voltage sensing device

Ans: a

2) Shunt is made up of...

a. Copper     b. Tungsten   c. Maganin

Ans: c

3) In a 4kva, 400/200 v m/c the value of impedance & reactance are given as 0.002 & 0.006. what will be the new values of them when referred to the h.v side.

a. 0.2,0.6    b. 0.08,0.036    c. 0.4,0.12

4) Metallic sheath is used to...

a. prevent the cable from moisture

b. provide mechanical strength

Ans: b

5) Of the following bridges the one which can be used for the measurement of dielectric loss of a capacitor is –

a. Schering bridge

b. Heaviside campbell equal ratio voltage

c. Owen bridge

d. Anderson bridge

Ans: a

6) Diac is a...

a. 3-layer,2-junction

b. 2-layer,3-junction

c. 4-layer,3-junction

7) Load voltage equation of step up chopper...

a. v(1-a)     b. v/(1-a)

Ans: b

8) Which is not realated to ckt breaker...

a. conservator      b. explosion pot    c. operating mechanism

Ans: a

9) Coefficient of reflection of short transmission line is...

a. 1     b. -1     c. 0     d. infinite

Ans: b

10) 1st nuclear power plant located at...

a. trombay    b. kalpakkam    c. tarapur

Ans: c

11) If a current setting is given as 25%, ct ratio is 400/5 then find pick up value...

a. 6.25     b. 0.25    c. 4

Ans: a

12) d.c chopper converts...

a. ac to ac    b. ac to dc   c. dc to dc   d. dc to ac

Ans: c

13) In a controlled rectifier, the nature of load current i.e, whether load current is continous or discontinous is

a. does not depend on type of load & firing angle delay

b. depends on load & firing angle delay

c. depends only on type of load

d. depends only on firing angle delay

Ans: b

14) For thyrister pulse triggering is preferred on dc trigerring because...

a. gate dissipation is low

b. pulse system is simpler

c. triggering system is required for very short duration

d. all of these

Ans: d

15) Thyristers are basically...

a. scr’s    b. triac’s    c. both scr’s and triac’s    d. all pnpn devices

ans: d

Non Tech Section

The nontech section comprises of only g.k questions

1) Vijay singh, who is golf player belongs to...

a. maritus     b. Maldives    c. Kenya

2) LTTE associated with...

a. Bangladesh    b. Bhutan   c. shrilanka   d. Nepal

Ans: a

3) S.Sainath related to...

a. journalism    b. t.v hosting

4) OPEC‘s headquarter is located at...

a. Vienna    b. gienna   c. maxico

Ans: a

5) Jawaharlal Nehru award given to which country...

a. mexico     b. u.s.a

6) Which contry first started carbon tax...

7) Nobel prize is equivalent to

a. raman magsasse    b. abel prize

8) The book “the elephant, tiger and......” is written by

a. artya sen

9) First women leader of INC was

a. Anne becent     b. Sarojini naidu

Ans: a

10) The book Anand math is written by...

a. B.C Chatterji   b. Rabindranath tagorre

11) APJ abdul kalam associated with...

a. gslv    b. pslv    c. slv

12) Nilgiri hills is famous for...

a. tea   b. coffee   c. rubber   d. spices

13) Olympic 2012 are going to be held at

a. London    b. Bejieng

Ans: London

14) The sentence ‘the way the wind flows ‘means...

a. how the things are

b. how the things are made

c. how we make the things

15) I hope that u _______ come for a cup of tea tomarrow

a. shall be    b. would be    c. will be

16) Pongal is a festival of

a. Karnatka   b. Andra Pradesh   c. West Bengal   d. Tamil nadu

17) Tajmahal was to be built originally at...

a. M.P    b. Orissa    c. West Bengal   d. Rajasthan

18) Pravasi bhartiya divas was celebrated on...

a. 9 jan     b. 16 april

Ans:a

19) Kajiranga national park is famous for...

a. ryhno    b. lion     c. deer

Ans: a